**ALASKA INSTALLED BIOMASS SYSTEMS (non-industrial); 12/28/2012**

**Craig School & Pool** – Chiptec chip system

Contact: Jon Bolling, City Administrator, 907-826-3275, jbolling@aptalaska.net

**Delta Junction School** – Messersmith chip system

Contact: Mark Morgan, Maintenance Supervisor, 907-895-1043, mmorgan@dgsd.k12.ak.us (not 100% sure about this email)

**Tok School** – Messersmith chip system

Contact: Scott MacManus, smacmanus@agsd.us, 907-505-0004 (c) or 907-883-5151 xt 104 (o) | OR, Chris Rausch, Maintenance Supervisor; Dan Teague, Boiler Operator; Todd Poage, School Superintendent. Call the School District switchboard at 907-883-5151 and ask for their extension

**Tanana washeteria** – (3) Garn WHS 2000 cordwood system. Additional Garns are being installed. A couple Econoburn units have been installed at some small city buildings.

Contact: Bear Ketzler 907-978-5848, beartanana@gci.net

**Coffman Cove School** – (2) Garn WHS 2000 cordwood system

Contact: Jonathan Fitzpatrick, 907-965-5808, jfitzpatrick@sisd.org

**Thorne Bay School** – (2) GarnPak cordwood system

Contact: Jonathan Fitzpatrick, 907-965-5808, jfitzpatrick@sisd.org

**Forest Service Discovery Center** in Ketchikan – Hurst [prototype] pellet/chip system

Contact: James Kase, 907-228-6335, jdkase@fs.fed.us or Kent Bowers, 907- 228-6223, kbowers@fs.fed.us

**GSA Federal Building in Ketchikan** – (1) ACT Bioenergy pellet boiler

Contact: Ron Balzer, 907-225-3330, Ron.Balzer@gsa.gov

**Ketchikan Public Library** – (1) ACT Bioenergy pellet boiler

Contact: Cliff Allen, City of Ketchikan Public Works Director, 907-228-4738, cliff@city.ketchikan.ak.us

**USCG AIRSTA Sitka** – (3) ACT Bioenegy pellet boilers (not technically “online” but they are installed)

Contact: Bob Deering, rcdeering@gmail.com, 907-957-1077

**Sealaska Corp** office bldg. in Juneau – (1) KÖB pellet boiler

Contact: Nathan Soboleff, 907-321-5594, nathan.soboleff@sealaska.com

**Ionia, Inc**. – (2) Garn WHS 2000 cordwood system

Contacts: <http://www.ionia.org/?page_id=123> or Ted Eller, edouardeller@yahoo.com

**Tetlin School** – (3) Tarm Innova Solo 50 cordwood system.

Contact: Scott MacManus, smacmanus@agsd.us, 907-505-0004 (c) or 907-883-5151 xt 104 (o) | OR, Rex Goolsby, rex.goolsby@gmail.com

**Gulkana Village Council** – (2) Garn WHS 2000 cordwood boiler PLUS (1) Tarm pellet boiler

Contact: Sandra Tsinnie, 907-822-3172, stsinnie@gulkanacouncil.org | OR, Ray Spears, Maintenance Supervisor (contact through Sandra)

**Haines Senior Center** – (1) Okafen pellet boiler

Contact: Darsie Culbeck, 907-766-2231 ext. 60, darsie@live.com or dculbeck@haines.ak.us

**Elim** **Water Plant** - (1) Garn WHS 2000-in-a-box cordwood boiler system

Contact: Carl Remley, Alaska Native Tribal Health Consortium, 907-729-3543, cremley@anthc.org

**University of Alaska Fairbanks; Fort Yukon Campus** – Tarm cordwood system

Contact: Rex Goolsby,  rex.goolsby@gmail.com

**Interior Regional Housing Authority; Galena Senior Center** - (?) Tarm Innova Solo 50 cordwood system

Contact: Rex Goolsby, rex.goolsby@gmail.com or Agnes Sweetsir, a.m.sweetsir@gmail.com

**Haines/Chilkoot Indian Association -** (2) 4-plexes, Pellergy pellet boiler

Contact: Scott Hansen, shansen@chilkoot-nsn.gov